Scope of Work:

Bilt Headquarters

PROJECT NAME: Bilt Headquarters

ADDRESS: 837 Washington St, New York, NY

DATE: January 21, 2026									Revision #0

PROJECT OVERVIEW

The following Scope of Work is intended to be general in nature. The intention is to have the successful Subcontractor perform all related work shown on the Contract Documents other than those items specifically indicated below to be excluded.

This Scope of Work takes precedence over the Drawings and Specifications in the event of a conflict in trade assignment or responsibility. By accepting this Scope of Work, the Subcontractor is verifying that the Drawings and Specifications clearly identify the Subcontractor's work.

Objective

Installation of the Wall Displays in Bilt Headquarters.

Installation

Installation is to take place between 05/01/26 and 07/30/26. Installation of all LED video boards included in the equipment list below and described within the SOW is to be part of this scope.

Electrical Connection

Electrical connections between LED panels (jumps) will be included as part of this scope of work. “Jumps” refers to both high voltage power and low voltage data connections between ALL LED panels

Testing and Adjusting

Sub-contractor will adjust the displays to ensure the best quality installation possible and will work with ANC to complete and make any necessary changes.

ANC Signoff

Each display will be reviewed to confirm that equipment has been installed per the SOW and to the satisfaction of the ANC project manager and the customer.

REFERENCE DOCUMENTS, EQUIPMENT LIST AND DESCRIPTION

- Reference Drawings (see attached):

  - Photos of Existing wall

- Equipment:

  - LED Panels/Detail

SCOPE OF WORK

- General Inclusions:

  - 2nd Floor Media Room Wall Display including the following elements:

    - Secondary structure consisting of ¾” plywood for LED mounting.

    - LED cabinets (Approx 70 cabinets) (7 Rows of 10 Cabinets) (7.75’h X 18.70’w)

  - Power and low voltage cables for display.

  - Atrium Wall Display includes the following elements:

    - Secondary structure consisting of ¾” plywood for LED mounting.

    - LED cabinets (Approx 256 cabinets) (16 Rows of 16 Cabinets) (17.72’h X 31.50’w)

  - Power and low voltage cables for display.

- General Exclusions:

  - Temporary power

  - Site security

  - Structural and Electrical engineering

  - Building permits

- 2nd Floor Wall Display:

  - Unload, receive, inspect and stage all structural components in pre-arranged staging locations (locations will be coordinated by ANC and Owner).

  - Provide manpower and equipment for structural installation of ¾” Plywood for mounting display’s cabinets.

  - Provide floor protection as required by the project / general contractor / engineers.

  - Unload, receive, inspect, and stage LED video panels.

  - Uncrate and install LED video panels.

  - Breakdown and dispose of crates as they are unloaded. Disposal is part of this scope of work.

  - Complete all electrical power and low voltage data jumps between assembled LED.

- Atrium Floor Wall Display:

  - Unload, receive, inspect and stage all structural components in pre-arranged staging locations (locations will be coordinated by ANC and Owner).

  - Provide manpower and equipment for structural installation of ¾” Plywood for mounting display’s cabinets.

  - Provide floor protection as required by the project / general contractor / engineers.

  - Unload, receive, inspect, and stage LED video panels.

  - Uncrate and install LED video panels.

  - Breakdown and dispose of crates as they are unloaded. Disposal is part of this scope of work.

  - Complete all electrical power and low voltage data jumps between assembled LED.

ITEMIZED PRICING

The itemized pricing for the above Scope of Work should be provided in the format below as requested in the RFP documents. If you have any questions, please do hesitate to send over.

BID DUE DATE - Please submit your bid via email to the ANC Contacts.